# EXPERIMENT – 3							DATE:

## I²C-BASED HEALTH MONITORING NODE FOR PULSE AND TEMPERATURE ACQUISITION

## Objectives of this Experiment:

- To understand the basic operation of I²C communication between an Arduino UNO and an LM75AD temperature sensor.

- To develop an Embedded C program for acquiring temperature data from the LM75AD sensor.

- To interface a pulse signal source with the digital input of the Arduino UNO.

- To calculate pulse rate in beats per minute (BPM) from the acquired pulse signal.

- To display the measured temperature and pulse rate through the Proteus Virtual Terminal.

- To simulate and verify the health monitoring node using Proteus Design Suite.

# OUTPUT PARAMETER TABLE – VALUES TO BE RECORDED

| S. No. | Output Parameter | Expected Value / Condition | Practical / Simulated Observation |
| --- | --- | --- | --- |
| 1 | I²C Device Address | 0x48 detected | Verified / Not Verified |
| 2 | Temperature Acquisition | Temperature displayed in °C | Verified / Not Verified |
| 3 | Temperature Variation | Display follows LM75AD setting | Verified / Not Verified |
| 4 | Pulse Input | Digital pulses received at D8 | Verified / Not Verified |
| 5 | Pulse Rate | Approximately 72 BPM | Verified / Not Verified |
| 6 | Serial Communication | Data displayed on Virtual Terminal | Verified / Not Verified |
| 7 | Continuous Monitoring | Temperature and BPM repeatedly displayed | Verified / Not Verified |

# RUBRIC:

| Objective | Assessment Criterion | Weightage | Marks |
| --- | --- | --- | --- |
| Develop the Proteus circuit | Circuit Design and Configuration | 2.5 |  |
| Develop the Embedded C program | Program Development | 2.5 |  |
| Implement temperature and pulse acquisition | Sensor and Signal Processing | 2.5 |  |
| Verify the health monitoring node | Simulation and Result Analysis | 2.5 |  |
| Total |  | 10 |  |

Experiment uploaded in GitHub on :  https://github.com/jbhuvaneshwarij430-rgb/ECA1414--192572141